# Invisiguard Project Architecture & Block Diagram

# 1. Overview

Invisiguard is an IoT-based fall detection and safety monitoring system. It consists of a wearable sensor node, a centralized Firebase Realtime Database, a Python-based Machine Learning inference server, and a Flutter mobile application for end-user monitoring.

# 2. System Block Diagram

+-------------------------------+
|       Wearable Node           |
| (Accelerometer / IoT Device)  |
+-------------------------------+
              |
              | Pushes Raw Sensor Data (X, Y, Z, Timestamp)
              v
+-------------------------------+
|  Firebase Realtime Database   | <--- (Central Messaging Bus)
|        (/student node)        |
+-------------------------------+
              |                ^
  Pulls Data  |                | Pushes Predictions, Alerts
              v                |
+-------------------------------+
|   Python Inference Service    |
|  - Buffer & Normalization     |
|  - Fall Detection LSTM Model  |
|  - Motion Classifier Logic    |
|  - Alert Thresholding         |
+-------------------------------+
              |
              | Reads Alert Status from Firebase DB
              v
+-------------------------------+
|     Flutter Mobile App        |
|  - Real-time Fall Alerts UI   |
|  - GPS Location Tracking      |
|  - SMS Emergency Dispatch     |
+-------------------------------+

# 3. Component Details

## A. Wearable Sensor Node

Collects real-time accelerometer readings and transmits them to the Firebase Real-time Database at a high sampling rate.

## B. Firebase Realtime Database

Acts as the central cloud broker. It stores the latest '/student' sensor data readings and also stores the ML inference results (probabilities, alert flags) generated by the Python backend.

## C. Python Inference Service

A continuously running backend service (firebase_inference.py) that:
- Polls/listens for new sensor readings from Firebase.
- Maintains a rolling window of recent samples (e.g., length of 100 frames).
- Passes normalized data into a trained PyTorch LSTM model to output fall probabilities.
- Validates actual motion by calculating the standard deviation to filter out false positives.
- Writes 'FALL', 'MOTION', and 'ALERT' statuses back to the Firebase database.

## D. Flutter Mobile App

The user-facing mobile app that allows guardians to monitor the user. Features include:
- A live Minimap with location history updates every 3 minutes.
- Real-time listening to Firebase for any Fall Alert triggers.
- A pop-up trigger and automated SMS fallback system to alert emergency contacts when a confirmed fall is registered.